## Type E - GV2
Issued: 2006-05-16
Last Revised: 2006-11-11
ID Number UL | Combination Type | Component Type | Component Manufacturer | Component Catalog Designation | Component kA | Component Amps | Component Volts | Component Poles | Combination kA | Combination Volts | Combination Phase | Maximum Combination HP | Maximum Combination NEC FLC | Minimum Enclosure Volume (cu ft) | Conditions of Acceptability | Combination UL File
SE600230 | E | MSP | Telemecanique | GV2P05H7 | 100 | 0.63 - 1.0 | 480Y/277 | 3 | 100 | 480Y/277 | 3 | 0.5 | 1.1 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600240 | E | MSP | Telemecanique | GV2P06H7 | 100 | 1.0 - 1.6 | 480Y/277 | 3 | 100 | 480Y/277 | 3 | 0.75 | 1.6 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600250 | E | MSP | Telemecanique | GV2P07H7 | 100 | 1.6 - 2.5 | 480Y/277 | 3 | 100 | 480Y/277 | 3 | 1 | 2.1 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600260 | E | MSP | Telemecanique | GV2P08H7 | 100 | 2.5 - 4.0 | 480Y/277 | 3 | 100 | 480Y/277 | 3 | 2 | 3.4 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600270 | E | MSP | Telemecanique | GV2P10H7 | 100 | 4.0 - 6.3 | 480Y/277 | 3 | 100 | 480Y/277 | 3 | 3 | 4.8 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600280 | E | MSP | Telemecanique | GV2P14H7 | 100 | 6.0 - 10.0 | 480Y/277 | 3 | 100 | 480Y/277 | 3 | 5 | 7.6 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600290 | E | MSP | Telemecanique | GV2P16H7 | 10 | 9.0 - 14.0 | 480Y/277 | 3 | 10 | 480Y/277 | 3 | 10 | 14 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600300 | E | MSP | Telemecanique | GV2P20H7 | 10 | 13.0 - 18.0 | 480Y/277 | 3 | 10 | 480Y/277 | 3 | 10 | 14 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600310 | E | MSP | Telemecanique | GV2P21H7 | 10 | 17.0 - 23.0 | 480Y/277 | 3 | 10 | 480Y/277 | 3 | 15 | 21 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600320 | E | MSP | Telemecanique | GV2P22H7 | 10 | 20.0 - 25.0 | 480Y/277 | 3 | 10 | 480Y/277 | 3 | 15 | 21 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600330 | E | MSP | Telemecanique | GV2P07H7 | 100 | 1.6 - 2.5 | 480Y/277 | 3 | 100 | 240 | 3 | 0.5 | 2.2 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600340 | E | MSP | Telemecanique | GV2P08H7 | 100 | 2.5 - 4.0 | 480Y/277 | 3 | 100 | 240 | 3 | 0.75 | 3.2 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600350 | E | MSP | Telemecanique | GV2P10H7 | 100 | 4.0 - 6.3 | 480Y/277 | 3 | 100 | 240 | 3 | 1.5 | 6 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600360 | E | MSP | Telemecanique | GV2P14H7 | 100 | 6.0 - 10.0 | 480Y/277 | 3 | 100 | 240 | 3 | 3 | 9.6 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600370 | E | MSP | Telemecanique | GV2P16H7 | 10 | 9.0 - 14.0 | 480Y/277 | 3 | 10 | 240 | 3 | 3 | 9.6 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600380 | E | MSP | Telemecanique | GV2P20H7 | 10 | 13.0 - 18.0 | 480Y/277 | 3 | 10 | 240 | 3 | 5 | 15.2 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600390 | E | MSP | Telemecanique | GV2P21H7 | 10 | 17.0 - 23.0 | 480Y/277 | 3 | 10 | 240 | 3 | 7.5 | 22 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600400 | E | MSP | Telemecanique | GV2P22H7 | 10 | 20.0 - 25.0 | 480Y/277 | 3 | 10 | 240 | 3 | 7.5 | 22 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600410 | E | MSP | Telemecanique | GV2P07H7 | 100 | 1.6 - 2.5 | 480Y/277 | 3 | 100 | 208 | 3 | 0.5 | 2.4 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600420 | E | MSP | Telemecanique | GV2P08H7 | 100 | 2.5 - 4.0 | 480Y/277 | 3 | 100 | 208 | 3 | 0.75 | 3.5 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600430 | E | MSP | Telemecanique | GV2P10H7 | 100 | 4.0 - 6.3 | 480Y/277 | 3 | 100 | 208 | 3 | 1 | 4.6 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600440 | E | MSP | Telemecanique | GV2P14H7 | 100 | 6.0 - 10.0 | 480Y/277 | 3 | 100 | 208 | 3 | 2 | 7.5 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600450 | E | MSP | Telemecanique | GV2P16H7 | 10 | 9.0 - 14.0 | 480Y/277 | 3 | 10 | 208 | 3 | 3 | 10.6 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600460 | E | MSP | Telemecanique | GV2P20H7 | 10 | 13.0 - 18.0 | 480Y/277 | 3 | 10 | 208 | 3 | 5 | 16.7 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600470 | E | MSP | Telemecanique | GV2P21H7 | 10 | 17.0 - 23.0 | 480Y/277 | 3 | 10 | 208 | 3 | 5 | 16.7 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600480 | E | MSP | Telemecanique | GV2P22H7 | 10 | 20.0 - 25.0 | 480Y/277 | 3 | 10 | 208 | 3 | 7.5 | 24.2 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600490 | E | MSP | Telemecanique | GV2P07H7 | 100 | 1.6 - 2.5 | 480Y/277 | 3 | 100 | 200 | 3 | 0.5 | 2.5 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600500 | E | MSP | Telemecanique | GV2P08H7 | 100 | 2.5 - 4.0 | 480Y/277 | 3 | 100 | 200 | 3 | 0.75 | 3.7 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600510 | E | MSP | Telemecanique | GV2P10H7 | 100 | 4.0 - 6.3 | 480Y/277 | 3 | 100 | 200 | 3 | 1 | 4.8 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600520 | E | MSP | Telemecanique | GV2P14H7 | 100 | 6.0 - 10.0 | 480Y/277 | 3 | 100 | 200 | 3 | 2 | 7.8 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600530 | E | MSP | Telemecanique | GV2P16H7 | 10 | 9.0 - 14.0 | 480Y/277 | 3 | 10 | 200 | 3 | 3 | 11 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600540 | E | MSP | Telemecanique | GV2P20H7 | 10 | 13.0 - 18.0 | 480Y/277 | 3 | 10 | 200 | 3 | 5 | 17.5 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
SE600550 | E | MSP | Telemecanique | GV2P21H7 | 10 | 17.0 - 23.0 | 480Y/277 | 3 | 10 | 200 | 3 | 5 | 17.5 | 0.183 | 1, 5 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -

## Type F - GV2-D Line
Issued: 2006-05-16
Last Revised: 2006-11-11
ID Number UL | Combination Type | Component Type | Component Manufacturer | Component Catalog Designation | Component kA | Component Amps | Component Volts | Component Poles | Combination kA | Combination Volts | Combination Phase | Maximum Combination HP | Maximum Combination NEC FLC | Minimum Enclosure Volume (cu ft) | Conditions of Acceptability | Combination UL File
SE400000 | F | MSP | Telemecanique | GV2P05H7 | 100 | 0.63 - 1.0 | 480Y/277 | 3 | 100 | 480Y/277 | 3 | 0.5 | 1.1 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400010 | F | MSP | Telemecanique | GV2P06H7 | 100 | 1.0 - 1.6 | 480Y/277 | 3 | 100 | 480Y/277 | 3 | 0.75 | 1.6 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400020 | F | MSP | Telemecanique | GV2P07H7 | 100 | 1.6 - 2.5 | 480Y/277 | 3 | 100 | 480Y/277 | 3 | 1 | 2.1 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400030 | F | MSP | Telemecanique | GV2P08H7 | 100 | 2.5 - 4.0 | 480Y/277 | 3 | 100 | 480Y/277 | 3 | 2 | 3.4 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400040 | F | MSP | Telemecanique | GV2P10H7 | 100 | 4.0 - 6.3 | 480Y/277 | 3 | 100 | 480Y/277 | 3 | 3 | 4.8 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400050 | F | MSP | Telemecanique | GV2P14H7 | 100 | 6.0 - 10.0 | 480Y/277 | 3 | 100 | 480Y/277 | 3 | 5 | 7.6 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400060 | F | MSP | Telemecanique | GV2P16H7 | 10 | 9.0 - 14.0 | 480Y/277 | 3 | 10 | 480Y/277 | 3 | 10 | 14 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D18 | 5 | 18 | 600 | 3
SE400070 | F | MSP | Telemecanique | GV2P20H7 | 10 | 13.0 - 18.0 | 480Y/277 | 3 | 10 | 480Y/277 | 3 | 10 | 14 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D18 | 5 | 18 | 600 | 3
SE400080 | F | MSP | Telemecanique | GV2P21H7 | 10 | 17.0 - 23.0 | 480Y/277 | 3 | 10 | 480Y/277 | 3 | 15 | 21 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D25 | 5 | 25 | 600 | 3
SE400090 | F | MSP | Telemecanique | GV2P22H7 | 10 | 20.0 - 25.0 | 480Y/277 | 3 | 10 | 480Y/277 | 3 | 15 | 21 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D25 | 5 | 25 | 600 | 3
SE400100 | F | MSP | Telemecanique | GV2P07H7 | 100 | 1.6 - 2.5 | 480Y/277 | 3 | 100 | 240 | 3 | 0.5 | 2.2 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400110 | F | MSP | Telemecanique | GV2P08H7 | 100 | 2.5 - 4.0 | 480Y/277 | 3 | 100 | 240 | 3 | 0.75 | 3.2 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400120 | F | MSP | Telemecanique | GV2P10H7 | 100 | 4.0 - 6.3 | 480Y/277 | 3 | 100 | 240 | 3 | 1.5 | 6 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400130 | F | MSP | Telemecanique | GV2P14H7 | 100 | 6.0 - 10.0 | 480Y/277 | 3 | 100 | 240 | 3 | 2 | 6.8 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400140 | F | MSP | Telemecanique | GV2P16H7 | 10 | 9.0 - 14.0 | 480Y/277 | 3 | 10 | 240 | 3 | 3 | 9.6 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D18 | 5 | 18 | 600 | 3
SE400150 | F | MSP | Telemecanique | GV2P20H7 | 10 | 13.0 - 18.0 | 480Y/277 | 3 | 10 | 240 | 3 | 5 | 15.2 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D18 | 5 | 18 | 600 | 3
SE400160 | F | MSP | Telemecanique | GV2P21H7 | 10 | 17.0 - 23.0 | 480Y/277 | 3 | 10 | 240 | 3 | 7.5 | 22 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D25 | 5 | 25 | 600 | 3
SE400170 | F | MSP | Telemecanique | GV2P22H7 | 10 | 20.0 - 25.0 | 480Y/277 | 3 | 10 | 240 | 3 | 7.5 | 22 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D25 | 5 | 25 | 600 | 3
SE400180 | F | MSP | Telemecanique | GV2P07H7 | 100 | 1.6 - 2.5 | 480Y/277 | 3 | 100 | 208 | 3 | 0.5 | 2.4 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400190 | F | MSP | Telemecanique | GV2P08H7 | 100 | 2.5 - 4.0 | 480Y/277 | 3 | 100 | 208 | 3 | 0.75 | 3.5 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400200 | F | MSP | Telemecanique | GV2P10H7 | 100 | 4.0 - 6.3 | 480Y/277 | 3 | 100 | 208 | 3 | 1 | 4.6 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400210 | F | MSP | Telemecanique | GV2P14H7 | 100 | 6.0 - 10.0 | 480Y/277 | 3 | 100 | 208 | 3 | 2 | 7.5 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400220 | F | MSP | Telemecanique | GV2P16H7 | 10 | 9.0 - 14.0 | 480Y/277 | 3 | 10 | 208 | 3 | 3 | 10.6 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D18 | 5 | 18 | 600 | 3
SE400230 | F | MSP | Telemecanique | GV2P20H7 | 10 | 13.0 - 18.0 | 480Y/277 | 3 | 10 | 208 | 3 | 5 | 16.7 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D18 | 5 | 18 | 600 | 3
SE400240 | F | MSP | Telemecanique | GV2P21H7 | 10 | 17.0 - 23.0 | 480Y/277 | 3 | 10 | 208 | 3 | 5 | 16.7 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D25 | 5 | 25 | 600 | 3
SE400250 | F | MSP | Telemecanique | GV2P22H7 | 10 | 20.0 - 25.0 | 480Y/277 | 3 | 10 | 208 | 3 | 7.5 | 24.2 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D25 | 5 | 25 | 600 | 3
SE400260 | F | MSP | Telemecanique | GV2P07H7 | 100 | 1.6 - 2.5 | 480Y/277 | 3 | 100 | 200 | 3 | 0.5 | 2.5 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400270 | F | MSP | Telemecanique | GV2P08H7 | 100 | 2.5 - 4.0 | 480Y/277 | 3 | 100 | 200 | 3 | 0.75 | 3.7 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400280 | F | MSP | Telemecanique | GV2P10H7 | 100 | 4.0 - 6.3 | 480Y/277 | 3 | 100 | 200 | 3 | 1 | 4.8 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400290 | F | MSP | Telemecanique | GV2P14H7 | 100 | 6.0 - 10.0 | 480Y/277 | 3 | 100 | 200 | 3 | 2 | 7.8 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D09 | 5 | 9 | 600 | 3
SE400300 | F | MSP | Telemecanique | GV2P16H7 | 10 | 9.0 - 14.0 | 480Y/277 | 3 | 10 | 200 | 3 | 3 | 11 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D18 | 5 | 18 | 600 | 3
SE400310 | F | MSP | Telemecanique | GV2P20H7 | 10 | 13.0 - 18.0 | 480Y/277 | 3 | 10 | 200 | 3 | 5 | 17.5 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D18 | 5 | 18 | 600 | 3
SE400320 | F | MSP | Telemecanique | GV2P21H7 | 10 | 17.0 - 23.0 | 480Y/277 | 3 | 10 | 200 | 3 | 5 | 17.5 | 0.183 | 1 | E134347 V2 S4
|  | Adapter | Telemecanique | GV2GH7 | - | - | - | -
|  | MC | Telemecanique | LC1D25 | 5 | 25 | 600 | 3