# Requirements for use of Nonaccredited Calibration service providers

# (for distribution to DAP participants)

| ###### Revision 8.2 Detail Removal of Paul Mouawad Addition of David Piecuch as approver Update Title for Kara Bostad from Senior Engineering Associate to Lead Engineering Associate |  |  |  |
| --- | --- | --- | --- |
| ###### REVISION 8.1 DETAIL ###### Replace David Piecuch with Kara Bostad as new document owner. ###### Replace Kevin Mehaffey with Paul Mouawad as approver. |  |  |  |
| ###### Revision 8.0 Detail ###### Update document owner to David Piecuch from Eric Matzke ###### Changed document name from “Equipment – In-house Calibration Requirements and use of Non-Accredited Calibration Service Providers” to “Requirements for use of Nonaccredited Calibration Service Providers” ###### Updated document footer ###### Updated all references to “Non-Accredited” to “Nonaccredited” as this is the proper use of the term ###### 5. Update approver titles ###### 6. Remove approver Larisa Aoyagi, as she is no longer engaged in the program ###### 7. Updated ISO/IEC 17025 references in attachment to 2017 edition unless otherwise identified ###### 8. Updated document requirements in line with OSHA Directive CPL 01-00-004 ###### 9. Clarified Scope that if accredited calibration is available, it must be used, and this document is to be used in the case that accredited calibration is NOT available. ###### 10. Clarified requirement that if accredited calibration is claimed to be not available, documentation of a laboratory’s due diligence is required. 11. Included links to OSHA Directive CPL 01-00-004 and OSHA Calibration Memorandum July 12, 2021 12. Updated document to cover all instances when test laboratories utilize nonaccredited calibration service providers instead of only identifying in-house calibration. 13. Added definition for National Metrological Institute (NMI) 14. Updated example provided in clause 5.1.3 to reflect more recent dates |  |  |  |
| Lead Engineering Associate - CMIT (Document Owner) Kara Bostad | Conformity Assessment Program Principal •Chief Scientist (Approver) David Piecuch |  |  |