## Gen FUII Scope Table
|  |  | Title: | W&C General FUII Scope Table and Addendum List
|  |  | Document #: | 00-UM-C0862 |  |  | Revision: | 7
Base CCN | CCN Suffix | CCN | CCN Short Description | Product Type | Type of Service | UL Subject | Standard | Addendum document name if applicable | Addendum revision date
AVLV | 2 | AVLV2 | APPLIANCE WIRING MATERIAL - COMPONENT | Appliance Wiring Material | L | 758 | UL 758 | 0758-AVLV2-FUII Addendum.docx | 2019-09-26
AVLV | 3 | AVLV3 | APPLIANCE WIRING MATERIAL - UNLISTED COMPONENT | Appliance Wiring Material | R | 758 | UL 758 | 0758-AVLV2-FUII Addendum.docx | 2019-09-26
AVLV | 8 | AVLV8 | APPLIANCE WIRING MATERIAL CERTIFIED FOR CANADA - COMPONENT | Appliance Wiring Material | L | 758 | CSA-C22.2 No. 101, CSA-C22.2 No. 127, CSA-C22.2 No. 15, CSA-C22.2 No. 210 | 0758-AVLV2-FUII Addendum.docx | 2019-09-26
AVLV | 9 | AVLV9 | APPLIANCE WIRING MATERIAL CERTIFIED FOR CANADA - UNLISTED COMPONENT | Appliance Wiring Material | R | 758 | CSA-C22.2 No. 101, CSA-C22.2 No. 127, CSA-C22.2 No. 15, CSA-C22.2 No. 210 | 0758-AVLV2-FUII Addendum.docx | 2019-09-26
AWEZ |  | AWEZ | ARMORED CABLE | Armored Cable | L | 4 | UL 4 | 0004-PJAZ-FUII Addendum.docx | 2019-05-23
BDFX |  | BDFX | BOAT CABLE | Boat Cable | L | 1426 | SAE J1127, SAE J1128, SAE J378b, UL 1426 | 0083-ZLGR-FUII Addendum.docx | 2017-07-01
DUZX |  | DUZX | COMMUNICATIONS CABLE | Communications Cable | L | 444 | UL 444 | 0013-QPTZ-FUII Addendum.docx | 2017-07-01
DUZX | 3 | DUZX3 | COMMUNICATIONS CABLE - UNLISTED COMPONENT | Wire & Cable | R | 444 | UL 444 | 0013-QPTZ-FUII Addendum.docx | 2017-07-01
DUZX | 7 | DUZX7 | COMMUNICATIONS CABLE CERTIFIED FOR CANADA | Communications Cable | L | 444 | CSA-C22.2 No. 214 | 0013-QPTZ-FUII Addendum.docx | 2017-07-01
DUZX | 9 | DUZX9 | COMMUNICATIONS CABLE CERTIFIED FOR CANADA - UNLISTED COMPONENT | Wire & Cable | R | 444 | CSA-C22.2 No. 214 | 0013-QPTZ-FUII Addendum.docx | 2017-07-01
DVCS |  | DVCS | COMMUNITY ANTENNA TELEVISION CABLE | Community Antenna Television Cable - CATV | L | 1655 | UL 1655 | 0013-QPTZ-FUII Addendum.docx | 2017-07-01
ELQL |  | ELQL | Cryogenic Submersible Pump Cable | Cryogenic Submersible Pump Cable | R | 1385 | UL Subject 1385 | 1385-ELQL-FUII Addendum.docx | 2019-07-01
EMRB |  | EMRB | DATA PROCESSING CABLE | Data Processing Cable | L | 1690 | UL 1690 | 0013-QPTZ-FUII Addendum.docx | 2017-07-01
FFSO |  | FFSO | ELECTRIC VEHICLE CABLE | Electric Vehicle Cable | L | 2263 | UL 62 | 0062-ZJCZ-FUII Addendum.docx | 2018-04-27
FFSO | 2 | FFSO2 | ELECTRIC VEHICLE CABLE - COMPONENT | Electric Vehicle Cable | L | 2263 | UL 62 | 0062-ZJCZ-FUII Addendum.docx | 2018-04-27
FFSO | 3 | FFSO3 | ELECTRIC VEHICLE CABLE - UNLISTED COMPONENT | Electric Vehicle Cable | R | 2263 | UL 62 | 0062-ZJCZ-FUII Addendum.docx | 2018-04-27
FFSO | 7 | FFSO7 | ELECTRIC VEHICLE CABLE CERTIFIED FOR CANADA | Electric Vehicle Cable | L | 2263 | CSA-C22.2 No. 49 | 0062-ZJCZ-FUII Addendum.docx | 2018-04-27
FFSO | 8 | FFSO8 | ELECTRIC VEHICLE CABLE CERTIFIED FOR CANADA - COMPONENT | Electric Vehicle Cable | L | 2263 | UL 62 | 0062-ZJCZ-FUII Addendum.docx | 2018-04-27
FFSO | 9 | FFSO9 | ELECTRIC VEHICLE CABLE CERTIFIED FOR CANADA - UNLISTED COMPONENT | Electric Vehicle Cable | R | 2263 | CSA-C22.2 No. 49 | 0062-ZJCZ-FUII Addendum.docx | 2018-04-27
HNHT |  | HNHT | NONPOWER-LIMITED FIRE ALARM CABLE | Power-limited Circuit Cable - Form 4 | L | 1425 | UL 1425 | 0013-QPTZ-FUII Addendum.docx | 2017-07-01
HNIR |  | HNIR | POWER-LIMITED FIRE ALARM CABLE | Power-limited Circuit Cable - Form 4 | L | 1424 | UL 1424 | 0013-QPTZ-FUII Addendum.docx | 2017-07-01
HNIR | 7 | HNIR7 | POWER-LIMITED FIRE ALARM CABLE CERTIFIED FOR CANADA | Power-limited Circuit Cable - Form 4 | L | 1424 | CSA-C22.2 No. 208 | 0013-QPTZ-FUII Addendum.docx | 2017-07-01
IKKT |  | IKKT | FLAT CONDUCTOR CABLE, TYPE FCC | Flat Conductor Cable, Type FCC | L | 1580 | UL1581 | No Addendum required for this CCN | na
ILPH |  | ILPH | FLEXIBLE STAGE AND LIGHTING POWER CABLE | Flexible Stage and Lighting Power Cable | L | 1680 | UL Subject 1680 | 1650-QPMU-FUII Addendum.docx | 2017-07-01
MSZR |  | MSZR | HOISTWAY CABLE | Hoistway Cable | L | 1084 | UL 62 | No Addendum required for this CCN | na
MSZR | 7 | MSZR7 | HOISTWAY CABLE CERTIFIED FOR CANADA | Hoistway Cable | L | 1084 | CSA-C22.2 No. 49 | No Addendum required for this CCN | na
NYTT |  | NYTT | INSTRUMENTATION TRAY CABLE | Instrumentation Tray Cable - Type ITC | L | 2250 | UL 2250 | 0013-QPTZ-FUII Addendum.docx | 2017-07-01
OFFY |  | OFFY | IRRIGATION CABLE | Irrigation Cable | L | 1263 | UL Subject 1263 | No Addendum required for this CCN | na
OWLC | 2 | OWLC2 | LIMITED-POWER WIRE AND CABLE USING INSULATED COPPER-CLAD ALUMINUM CONDUCTORS - COMPONENT | CCA Wire | L | 758 | UL 2880 | No Addendum required for this CCN | na
PDYQ |  | PDYQ | MARINA AND BOATYARD CABLE | Marina & Boatyard Cable | L | 1663 | UL 83 | No Addendum required for this CCN | na
PJAZ |  | PJAZ | METAL-CLAD CABLE | Metal-Clad Cable | L | 1569 | UL 1569 | 0004-PJAZ-FUII Addendum.docx | 2019-05-23
PJAZ | 7 | PJAZ7 | METAL-CLAD CABLE CERTIFIED FOR CANADA | Metal-Clad Cable | L | 1569 | CSA-C22.2 No. 123, CSA-C22.2 No. 131, CSA-C22.2 No. 51 | 0004-PJAZ-FUII Addendum.docx | 2019-05-23
PJPP |  | PJPP | Cable for Use in Hazardous Locations | Metal-Clad Cable | L | 2225 | UL 1277, UL 1569, UL 2225, UL 2250 | 2225-PJPP-FUII Addendum.docx | 2017-07-01
PJPP | 7 | PJPP7 | Cable for Use in Hazardous Locations Certified for Canada | Metal-Clad Cable | L | 2225 | CSA-C22.2 No. 123, CSA-C22.2 No. 131, CSA-C22.2 No. 174, CSA-C22.2 No. 51 | 2225-PJPP-FUII Addendum.docx | 2017-07-01
PPKV |  | PPKV | MINERAL-INSULATED METAL-SHEATHED CABLE | Mineral-insulated Metal-sheathed Cable | L | 504 | UL Subject 504 | No Addendum required for this CCN | na
PPKV | 7 | PPKV7 | MINERAL-INSULATED METAL-SHEATHED CABLE CERTIFIED FOR CANADA | Mineral-insulated Metal-sheathed Cable | L | 504 | CSA-C22.2 No. 124 | No Addendum required for this CCN | na
PWIP |  | PWIP | NETWORK-POWERED BROADBAND COMMUNICATIONS CABLE | Power-limited Circuit Cable - Form 4 | L | 2261 | UL Subject 2261 | 0013-QPTZ-FUII Addendum.docx | 2017-07-01
PWVX |  | PWVX | NONMETALLIC-SHEATHED CABLE | Nonmetallic-sheathed Cable | L | 719 | UL 719 | 0719-PWVX-FUII Addendum.docx | 2019-02-08
PWVX | 7 | PWVX7 | NONMETALLIC-SHEATHED CABLE CERTIFIED FOR CANADA | Nonmetallic-sheathed Cable | L | 719 | CSA-C22.2 No. 48 | No Addendum required for this CCN | na
QACA | 2 | QACA2 | NONSHIELDED CABLE - COMPONENT | NONSHIELDED CABLE - COMPONENT | L | 2460 | UL 2460 | No Addendum required for this CCN | na
QAYK |  | QAYK | OPTICAL FIBER CABLE | Wire & Cable | L | 1651 | UL 1651 | 1651-QAYK-FUII Addendum.docx | 2017-07-01
QAYK | 3 | QAYK3 | OPTICAL FIBER CABLE - UNLISTED COMPONENT | Wire & Cable | R | 1651 | UL 1651 | 1651-QAYK-FUII Addendum.docx | 2017-07-01
QAYK | 7 | QAYK7 | OPTICAL FIBER CABLE CERTIFIED FOR CANADA | Wire & Cable | L | 1651 | CSA-C22.2 No. 232 | 1651-QAYK-FUII Addendum.docx | 2017-07-01
QAYK | 9 | QAYK9 | OPTICAL FIBER CABLE CERTIFIED FOR CANADA - UNLISTED COMPONENT | Wire & Cable | R | 1651 | CSA-C22.2 No. 232 | 1651-QAYK-FUII Addendum.docx | 2017-07-01
QHZR |  | QHZR | DISTRIBUTED GENERATION CABLE | Distributed Generation Cable | L | 3003 | UL 3003 | 1277-QPOR-FUII Addendum.docx | 2017-11-20
QPMU |  | QPMU | PORTABLE POWER CABLE | Portable Power Cable | L | 1650 | UL 1650 | 1650-QPMU-FUII Addendum.docx | 2017-07-01
QPMU | 7 | QPMU7 | PORTABLE POWER CABLE CERTIFIED FOR CANADA | Portable Power Cable | L | 1650 | CSA-C22.2 No. 96, CSA-C22.2 No. 96.1 | 1650-QPMU-FUII Addendum.docx | 2017-07-01
QPNY |  | QPNY | POWER AND CONTROL CABLE FOR SOLAR TRACKERS | Photovoltaic Wire | L | 2903 | UL 2903 | 1277-QPOR-FUII Addendum.docx | 2017-11-20
QPOR |  | QPOR | POWER AND CONTROL TRAY CABLE | Power and Control Tray Cable | L | 1277 | UL 1277 | 1277-QPOR-FUII Addendum.docx | 2017-11-20
QPOR | 7 | QPOR7 | POWER AND CONTROL TRAY CABLE CERTIFIED FOR CANADA | Power and Control Tray Cable | L | 1277 | CSA-C22.2 No. 239 | 1277-QPOR-FUII Addendum.docx | 2017-11-20
QPTZ |  | QPTZ | POWER-LIMITED CIRCUIT CABLE | Power-limited Circuit Cable - Form 4 | L | 13 | UL 13 | 0013-QPTZ-FUII Addendum.docx | 2017-07-01
QPTZ | 3 | QPTZ3 | POWER-LIMITED CIRCUIT CABLE - UNLISTED COMPONENT | Wire & Cable | R | 13 | UL 13 | 0013-QPTZ-FUII Addendum.docx | 2017-07-01
TYLZ |  | TYLZ | SERVICE-ENTRANCE CABLE | Service-entrance Cable | L | 854 | UL 854 | 0854-TYLZ-FUII Addendum.docx | 2020-01-23
TYLZ | 7 | TYLZ7 | SECONDARY AND SERVICE-ENTRANCE CABLE CERTIFIED FOR CANADA | Service-entrance Cable | L | 854 | CSA-C22.2 No. 52 | 0854-TYLZ-FUII Addendum.docx | 2020-01-23
VZSE |  | VZSE | BATTERY LEAD WIRE | Battery Lead Wire | L | 2726 | UL Subject 2726 | 2726-ZKRU-FUII Addendum.docx | 2017-07-01
VZSL |  | VZSL | LOW-VOLTAGE BATTERY CABLE | Low Voltage Battery Cable | L | 2578 | SAE J1127, UL 4127 | 2726-ZKRU-FUII Addendum.docx | 2017-07-01
VZSR |  | VZSR | ON-BOARD CABLE | Wire & Cable | L | 2733 | UL Subject 2733 | 2726-ZKRU-FUII Addendum.docx | 2017-07-01
XNTL |  | XNTL | TRAFFIC SIGNAL CABLE CERTIFIED TO IMSA SPECIFICATIONS | Traffic Signal Cable | L | 1689 | IMSA Cable Specification 19, 20, 26, 29, 39, 40, 50, 51 | 1689-XNTL-FUII Addendum.docx | 2017-09-11
XNUA |  | XNUA | TRAILING CABLE CERTIFIED TO DIN VDE 0250 PART 813 | Trailing Cable | L | 1650 | DIN VDE 0250 Part 813 | 1650-XNUA-FUII Addendum.docx | 2017-07-01
YDUX |  | YDUX | UNDERGROUND FEEDER AND BRANCH CIRCUIT CABLE | Underground Feeder and Branch Circuit Cable | L | 493 | UL 493 | 0493-YDUX-FUII Addendum.doc | 2017-07-01
YEFX |  | YEFX | UNIVERSAL HYBRID POWER AND SIGNAL/CONTROL CABLE | Universal Hybrid Power & Signal/Control Cable | L | 2988 | UL 2988 | 2988-YEFX-FUII Addendum.docx | 2017-07-01
ZGZN |  | ZGZN | WIND TURBINE TRAY CABLE | Wind Turbine Tray Cable | L | 2277 | UL Subject 2277 | 1277-QPOR-FUII Addendum.docx | 2017-11-20
ZIMX |  | ZIMX | BUS DROP CABLE | Bus Drop Cable | L | 509 | UL Subject 509 | No Addendum required for this CCN | na
ZIPF |  | ZIPF | FESTOON CABLE | Festoon Cable | L | 2273 | UL Subject 2273 | No Addendum required for this CCN | na
ZIPR |  | ZIPR | FIXTURE WIRE | Fixture Wire | L | 66 | UL 66 | No Addendum required for this CCN | na
ZIPR | 3 | ZIPR3 | FIXTURE WIRE - UNLISTED COMPONENT | Fixture Wire | R | 66 | UL 66 | No Addendum required for this CCN | na
ZJCZ |  | ZJCZ | FLEXIBLE CORD | Flexible Cord for General Use | L | 62, 958 | UL 62 | 0062-ZJCZ-FUII Addendum.docx | 2018-04-27
ZJCZ | 2 | ZJCZ2 | FLEXIBLE CORD AND CABLE - COMPONENT | Flexible Cord for General Use | L | 62, 958 | UL 62 | 0062-ZJCZ-FUII Addendum.docx | 2018-04-27
ZJCZ | 3 | ZJCZ3 | FLEXIBLE CORD - UNLISTED COMPONENT | Wire & Cable | R | 62, 958 | UL 62 | 0062-ZJCZ-FUII Addendum.docx | 2018-04-27
ZJCZ | 7 | ZJCZ7 | FLEXIBLE CORD CERTIFIED FOR CANADA | Flexible Cord for General Use | L | 62, 958 | CSA-C22.2 No. 49 | 0062-ZJCZ-FUII Addendum.docx | 2018-04-27
ZJCZ | 8 | ZJCZ8 | FLEXIBLE CORD AND CABLE CERTIFIED FOR CANADA - COMPONENT | Flexible Cord for General Use | L | 62, 958 | CSA-C22.2 No. 49 | 0062-ZJCZ-FUII Addendum.docx | 2018-04-27
ZJCZ | 9 | ZJCZ9 | FLEXIBLE CORD - UNLISTED COMPONENT | Wire & Cable | R | 62, 958 | CSA-C22.2 No. 49 | 0062-ZJCZ-FUII Addendum.docx | 2018-04-27
ZJFH |  | ZJFH | FLEXIBLE MOTOR SUPPLY CABLE | Flexible Motor Supply Cable | L | 2277 | UL Subject 2277 | 1277-QPOR-FUII Addendum.docx | 2017-11-20
ZJQX |  | ZJQX | GAS-TUBE-SIGN CABLE | Gas-Tube-Sign Cable | L | 814, 1276 | UL 814, UL 879 | 0814-ZJQX-FUII Addendum.docx | 2017-07-01
ZJQX | 7 | ZJQX7 | GAS-TUBE-SIGN AND IGNITION CABLE CERTIFIED FOR CANADA | Gas-Tube-Sign Cable | L | 814, 1276 | CSA-C22.2 No. 127 | 0814-ZJQX-FUII Addendum.docx | 2017-07-01
ZJVK |  | ZJVK | IRRIGATION FEEDER, CONTROL AND SIGNAL CABLE | Irrigation Feeder Control & Signal Cable | L | 2571 | UL Subject 2571 | No Addendum required for this CCN | na
ZKHZ |  | ZKHZ | MACHINE-TOOL WIRE | Machine-tool Wire | L | 1063 | UL 1063 | 0083-ZLGR-FUII Addendum.docx | 2017-07-01
ZKKA |  | ZKKA | PENDANT CABLE | Pendant Cable | L | 2562 | UL Subject 2562 | No Addendum required for this CCN | na
ZKKA | 3 | ZKKA3 | PENDANT CABLE - UNLISTED COMPONENT | Pendant Cable | R | 2562 | UL Subject 2562 | No Addendum required for this CCN | na
ZKLA |  | ZKLA | PHOTOVOLTAIC WIRE | Photovoltaic Wire | L | 4703 | UL Subject 4703 | 0044-ZKST-FUII Addendum.docx | 2017-07-01
ZKLA | 3 | ZKLA3 | PHOTOVOLTAIC WIRE - UNLISTED COMPONENT | Photovoltaic Wire | R | 4703 | UL Subject 4703 | 0044-ZKST-FUII Addendum.docx | 2017-07-01
ZKLA | 7 | ZKLA7 | PHOTOVOLTAIC CABLE CERTIFIED FOR CANADA | Photovoltaic Wire | L | 4703 | CSA-C22.2 No. 271 | 0044-ZKST-FUII Addendum.docx | 2017-07-01
ZKRU |  | ZKRU | RECREATIONAL VEHICLE CABLE, LOW VOLTAGE | Recreational Vehicle Cable, Low Voltage | L | 2276 | UL Subject 2276 | 2726-ZKRU-FUII Addendum.docx | 2017-07-01
ZKRY | 2 | ZKRY2 | SMALL-SCALE FLAME-RATED WIRE - COMPONENT | Small-Scale Flame-Rated Wire -Component | R | 758 | UL 2556 | 0758-ZKRY2-FUII Addendum.docx | 2017-07-01
ZKSB |  | ZKSB | TELECOMMUNICATION CENTRAL OFFICE POWER, BATTERY AND DISTRIBUTION CABLE | Telecommunication Central Office Power, Battery and Distribution Cable | L | 2731 | UL Subject 2731 | No Addendum required for this CCN | na
ZKSG |  | ZKSG | TELEPHONE SERVICE DROP WIRE | Telephone Service Drop Wire | L | 523 | UL Subject 523 | No Addendum required for this CCN | na
ZKST |  | ZKST | THERMOSET-INSULATED WIRE | Thermoset-insulated Wire | L | 44 | UL 44 | 0044-ZKST-FUII Addendum.docx | 2017-07-01
ZKST | 3 | ZKST3 | THERMOSET-INSULATED WIRE - UNLISTED COMPONENT | Thermoset-insulated Wire | R | 44 | UL 44 | 0044-ZKST-FUII Addendum.docx | 2017-07-01
ZKST | 7 | ZKST7 | THERMOSET-INSULATED WIRE CERTIFIED FOR CANADA | Thermoset-insulated Wire | L | 44 | CSA-C22.2 No. 38 | 0044-ZKST-FUII Addendum.docx | 2017-07-01
ZLGR |  | ZLGR | THERMOPLASTIC-INSULATED WIRE | Thermoplastic-insulated Wire | L | 44, 83 | UL 83, UL 83A | 0083-ZLGR-FUII Addendum.docx | 2017-07-01
ZLGR | 3 | ZLGR3 | THERMOPLASTIC-INSULATED WIRE - UNLISTED COMPONENT | Thermoplastic-insulated Wire | R | 44, 83 | UL 83, UL 83A | 0083-ZLGR-FUII Addendum.docx | 2017-07-01
ZLGR | 7 | ZLGR7 | THERMOPLASTIC-INSULATED WIRE CERTIFIED FOR CANADA | Thermoplastic-insulated Wire | L | 44, 83 | CSA-C22.2 No. 75 | 0083-ZLGR-FUII Addendum.docx | 2017-07-01
ZLIA |  | ZLIA | UNDERGROUND LOW-ENERGY CIRCUIT CABLE | Underground Low-energy Circuit Cable | L | 1493 | UL Subject 1493 | 0013-QPTZ-FUII Addendum.docx | 2017-07-01
ZLIA | 7 | ZLIA7 | UNDERGROUND LOW-ENERGY CIRCUIT CABLE CERTIFIED FOR CANADA | Underground Low-energy Circuit Cable | L | 1493 | CSA-C22.2 No. 35 | 0013-QPTZ-FUII Addendum.docx | 2017-07-01
ZMAY |  | ZMAY | WELDING CABLE | Welding Cable | L | 1276 | UL Subject 1276 | No Addendum required for this CCN | na
ZMAY | 7 | ZMAY7 | WELDING CABLE CERTIFIED FOR CANADA | Welding Cable | L | 1276 | CSA-C22.2 No. 96 | No Addendum required for this CCN | na
ZNNA |  | ZNNA | WIRE, HEAT RESISTANT, FOR OVENS | Wire, Heat Resistant, for Ovens | L | 758 | UL Subject 2563 | 0758-AVLV2-FUII Addendum.docx | 2019-09-26
ZNPA |  | ZNPA | WIRE, LOW-VOLTAGE LED | WIRE, LOW-VOLTAGE LED - COMPONENT | L | 814 | UL Subject 2592 | 0814-ZJQX-FUII Addendum.docx | 2017-07-01
ZNPA | 2 | ZNPA2 | WIRE, LOW-VOLTAGE LED - COMPONENT | WIRE, LOW-VOLTAGE LED - COMPONENT | L | 814 | UL Subject 2592 | 0814-ZJQX-FUII Addendum.docx | 2017-07-01

## revision history
Revision | Date | Notes
1 | 2017-06-20 | Initial Release
2 | 2017-07-12 | Correct MSZR and MSZR7 to show "No Addendum required for this CCN"
3 | 2017-09-22 | 1689-XNTL-FUII Addendum.docx
4 | 2018-06-14 | Revise 0062-ZJCZ-FUII Addendum.docx (Includes the addition of FFSO2 and FFSO8), add revision date to table, and add revision history tab
5 | 2019-02-08 | Revised 0004-PJAZ-FUII Addendum.docx and 0719-PWVX-FUII Addendum.docx (revised sample selection and testing requirements).
6 | 2019-05-23 | Revised 0004-PJAZ-FUII Addendum.docx (revised sample selection and testing requirements).
7 | 2020-01-24 | Revised 0758-AVLV2-FUII Addendum.docx, 0854-TYLZ-FUII Addendum.docx, and added 1385-ELQL-FUII Addendum.docx